## Slide 1: P R I S M Portable Remote Imaging SpectroMeter
Pantazis “Zakos” Mouroulis, JPL
Robert Green, JPL
Heidi Dierssen, Uconn
Bo-Cai Gao, Marcos Montes, NRL

## Slide 3: OBB Plan outlines: Portable Sensors from Suborbital Platforms
Imagery with spatial resolution of meters or less
Mapping and tracking fine-scale features along coastal margins, including river plumes, flooded land regions, and seafloor features
Hazardous and episodic events require repeat sampling on the order of hours and not days or weeks
Water quality of inland lakes, rivers, and coastal estuaries

## Slide 5: NASA RFP Feb. 2008

## Slide 6: Spectrometer Design
The coastal ocean provides critical challenges to spectrometer system design:
1) The reflectance of the target can vary from ~1% for dark water to over 90% for bright sand.
2) The signal from the surface can be overwhelmed by atmospheric scatter, which is polarization-sensitive and wavelength-dependent.
3) High spatial resolution and high degree of spectrometer response uniformity.

## Slide 8: Pantazis “Zakos” Mouroulis
1. P. Mouroulis and J. Macdonald, Geometrical Optics and Optical Design, Oxford University Press, 1997.
2. P. Mouroulis (Ed.): Visual Instrumentation: Optical Design and Engineering Principles, McGraw-Hill, 1999.
Designed
  the optical system of M3 and helped build and calibrate
  Artemis imaging spectrometer to be launched soon around Earth orbit (Raytheon).
  an airborne sensor called MaRS, for which information other than the name is not yet in the public domain.
Current Projects
  thermal IR imaging spectrometer now in its first year.
  Ultrafast Dyson spectrometer for planetary mineralogy
  Building the next generation AVIRIS (pushbroom) sensor.

## Slide 11: PRISM
Pushbroom design
High collection aperture

## Slide 13: Additions to the sensor
Additional SWIR bands
  Two channel spot radiometer
  1240 and 1640 nm
  20 and 40nm widths
  co-aligned with the main PRISM spectrometer

## Slide 14: Initial Time Line
Field Tests

## Slide 15: Field Tests
Monterey Bay – Coastal CA
  Dark eelgrass targets
  Turbid water
During Overflights
  Transect of stations up the Slough
  Moored spectrometer and Sun photometer
Not necessarily coincident
  Eelgrass beds using divers.
  Emergent aquatic vegetation
  Land-based targets

## Slide 16: Elkhorn Slough
Particle Size (mm)
Particle Concentration (Particles L-1 mm-1)
Elkhorn Slough
Ebb Tide
High Slack Tide
Buonassissi, M.S. thesis 2009

## Slide 17: Atmospheric Correction
Always challenging in coastal regions
Tafkaa, hyperspectral remote sensing of ocean color (Gao et al., 2000)
Algorithm allows for input of sensor-specific information
  tafkaa_geometry = 110
  tafkaa_crosstrack_pointing_file =
  tafkaa_line_geometry_file =
NIR water leaving radiances (0.66 - 0.76 µm) > 0
Aerosol information from a spectrum-matching algorithm uses channels in longer wavelengths

## Slide 18: Drs. Gao and Montes, NRL
preliminary evaluations of the hyperspectral imagery to be acquired with PRISM during the validation overflights.
atmospheric corrections for a few scenes, and providing water leaving reflectance data sets to scientists who are interested in the data for further evaluations and scientific applications.

## Slide 19: Aerosol Sensitivity Analysis
Tafkaa parameterized only with ozone, windspeed and standard atmospheric model using the NIR/SWIR bands to model aerosols over deep water pixels
Model initialized with aerosol optical depth retrieved from a locally deployed sun photometer and extrapolated to whole scene
Atmospheric correction with pixel-by-pixel retrieval from potential ancillary information provided NASA Ames airborne atmospheric package (AATS)

## Slide 20: Other Oceanic Involvement
Dr. Raphael Kudela, professor at University of California Santa Cruz have both agreed to collaborate in the field effort as part of this investigation
  additional in-water instrumentation
  fly another imaging spectrometer, the Headwall, developed by the NASA Ames group with an airborne atmospheric package (AATS
Dr. John Ryan, Scientist at the Monterey Bay Aquarium,
YOU: Welcome to other collaborators!

## Slide 21: Conclusions
JPL building portable imaging spectrometer specifically designed for ocean applications (PRISM)
Flown on smaller airborne platforms
  Under clouds
  Higher spatial and spectral resolution
Monitoring of water quality, coastal ecosystems (reefs , eelgrass), natural and anthropogenic hazards, possibly even adaptive sampling from ships